## Slide 1: Absarokee Sewer and Water District
Wastewater System Preliminary Engineering Report

## Slide 2: Preliminary Engineering Report Process
Preliminary Engineering Report Defined
  Known as “PER”
  Required by State & Federal Funding Agencies
  Engineer Evaluates Entire System
  Identifies Deficiencies
  Develops Solution Alternatives & Costs
  PER Supports Grant Funding Applications

## Slide 3: Project Background
Existing Wastewater System
  Collection system originally installed in 1937 with extensions and upgrades throughout the years
  Recent wastewater treatment system upgrades completed, Aging Headworks and Lift Station
  Excessive Infiltration and Inflow (I&I)

## Slide 4: Infiltration and Inflow
I&I
  Treatment facility at capacity, moratorium on new Sewer connections
  Video inspection of sewer completed
  Source of inflow identified by District, requiring further investigation

## Slide 5: Headworks
Safety and Operation
  Lack of proper heating, insulation, ventilation
  Lack of reliable water supply
  Underground pump non-functional
  Desire for SCADA to aid in operation

## Slide 6: Solution
Collection System
  Combination of Dig and Replace and Trenchless methods to Rehabilitate Sewer Mains
    Project Phasing recommended as funding allows, based on severity of I&I
    Inflow investigation
Collection System
  Upgrades to Headworks Building, including upgrades to pumps and upgrades needed for safety and proper operation

## Slide 7: Project Schedule
PER Finalized January 2025
Grant Applications Submitted Spring 2026
Funding Available Spring 2028
Design Spring 2028
Bidding Summer 2028
Construction Summer/Fall 2028

## Slide 8: Funding the Project
Conclusions and Recommendations from the PER include:
  Discussion of funding alternatives for the project
    Loan funds that might require the assistance of bond counsel to help with a rate increase process
    Grant opportunities: MCEP, RRGL, CDBG, USDA Rural Development, Others
Grant considerations:
  Environmental Review
  Public Health and Safety
  Renewable Resource Benefit
  Financial Need
  Technical Design and Long-term Solution
  Long-term Planning and Management
  Available Funding from Other Sources (match) and Financial Feasibility
  Public Benefit including Business or Tax Base Expansion
  Community Support

## Slide 9: Public Participation
How the Public Can Help with the PER and Funding Process
  Provide input on any issues they experience with the system
  Identify how the project will benefit the public health and safety or economic well-being of local citizens
  Attend Public Meetings and/or comment on surveys
  Write letters of support

## Slide 10: Absarokee Sewer and Water District
Wastewater System Preliminary Engineering Report
Questions & Comments?